## flux-met_processing_variables_2
Type | Variable | Description | Units
TIMEKEEPING | TIMESTAMP_START | ISO timestamp start of averaging period (up to a 12-digit integer as specified by the data's temporal resolution) | YYYYMMDDHHMM
TIMEKEEPING | TIMESTAMP_END | ISO timestamp end of averaging period (up to a 12-digit integer as specified by the data's temporal resolution) | YYYYMMDDHHMM
TIMEKEEPING | TIMESTAMP | ISO timestamp (up to a 12-digit integer as specified by the data's temporal resolution) | YYYYMMDDHHMM
AQUATIC | COND_WATER | Conductivity (i.e., electrical conductivity) of water | ÂµS cm-1
AQUATIC | DO | Dissolved oxygen in water | Âµmol L-1
AQUATIC | PCH4 | Dissolved methane (CH4) in water | nmolCH4 mol-1
AQUATIC | PCO2 | Dissolved carbon dioxide (CO2) in water | ÂµmolCO2 mol-1
AQUATIC | PN2O | Dissolved nitrous oxide (N2O) in water | nmolN2O mol-1
AQUATIC | PPFD_UW_IN | Photosynthetic photon flux density, underwater, incoming | ÂµmolPhotons m-2 s-1
AQUATIC | TW | Water temperature | deg C
BIOLOGICAL | DBH | Diameter of tree measured at breast height (1.3m)Â with continuous dendrometers | cm
BIOLOGICAL | LEAF_WET | Leaf wetness, range 0-100 | %
BIOLOGICAL | SAP_DT | Difference of probes temperature for sapflow measurements | deg C
BIOLOGICAL | SAP_FLOW | Sap flow | mmolH2O m-2 s-1
BIOLOGICAL | T_BOLE | Bole temperature | deg C
BIOLOGICAL | T_CANOPY | Temperature of the canopy and/or surface underneath the sensor | deg C
FOOTPRINT | FETCH_70 | Distance at which cross-wind integrated footprint cumulative probability is 70% | m
FOOTPRINT | FETCH_80 | Distance at which cross-wind integrated footprint cumulative probability is 80% | m
FOOTPRINT | FETCH_90 | Distance at which cross-wind integrated footprint cumulative probability is 90% | m
FOOTPRINT | FETCH_FILTER | Footprint quality flag (i.e., 0, 1): 0 and 1 indicate data measured when wind coming from direction that should be discarded and kept, respectively | nondimensional
FOOTPRINT | FETCH_MAX | Distance at which footprint contribution is maximum | m
GASES | CH4 | Methane (CH4) mole fraction in wet air | nmolCH4 mol-1
GASES | CH4_MIXING_RATIO | Methane (CH4) in mole fraction of dry air | nmolCH4 mol-1
GASES | CO | Carbon Monoxide (CO) mole fraction in wet air | nmolCO mol-1
GASES | CO2 | Carbon Dioxide (CO2) mole fraction in wet air | ÂµmolCO2 mol-1
GASES | CO2_MIXING_RATIO | Carbon Dioxide (CO2) in mole fraction of dry air | ÂµmolCO2 mol-1
GASES | CO2_SIGMA | Standard deviation of carbon dioxide mole fraction in wet air | ÂµmolCO2 mol-1
GASES | CO2C13 | Stable isotopic composition of CO2 - C13 (i.e., d13C of CO2) | â€° (permil)
GASES | FC | Carbon Dioxide (CO2) turbulent flux (no storage correction) | ÂµmolCO2 m-2 s-1
GASES | FCH4 | Methane (CH4) turbulent flux (no storage correction) | nmolCH4 m-2 s-1
GASES | FN2O | Nitrous oxide (N2O) turbulent flux (no storage correction) | nmolN2O m-2 s-1
GASES | FNO | Nitric oxide (NO) turbulent flux (no storage correction) | nmolNO m-2 s-1
GASES | FNO2 | Nitrogen dioxide (NO2) turbulent flux (no storage correction) | nmolNO2 m-2 s-1
GASES | FO3 | Ozone (O3) turbulent flux (no storage correction) | nmolO3 m-2 s-1
GASES | H2O | Water (H2O) vapor in mole fraction of wet air | mmolH2O mol-1
GASES | H2O_MIXING_RATIO | Water (H2O) vapor in mole fraction of dry air | mmolH2O mol-1
GASES | H2O_SIGMA | Standard deviation of water vapor mole fraction | mmolH2O mol-1
GASES | N2O | Nitrous Oxide (N2O) mole fraction in wet air | nmolN2O mol-1
GASES | N2O_MIXING_RATIO | Nitrous Oxide (N2O) in mole fraction of dry air | nmolN2O mol-1
GASES | NO | Nitric oxide (NO) mole fraction in wet air | nmolNO mol-1
GASES | NO2 | Nitrogen dioxide (NO2) mole fraction in wet air | nmolNO2 mol-1
GASES | O3 | Ozone (O3) mole fraction in wet air | nmolO3 mol-1
GASES | SC | Carbon Dioxide (CO2) storage flux | ÂµmolCO2 m-2 s-1
GASES | SCH4 | Methane (CH4) storage flux | nmolCH4 m-2 s-1
GASES | SN2O | Nitrous oxide (N2O) storage flux | nmolN2O m-2 s-1
GASES | SNO | Nitric oxide (NO) storage flux | nmolNO m-2 s-1
GASES | SNO2 | Nitrogen dioxide (NO2) storage flux | nmolNO2 m-2 s-1
GASES | SO2 | Sulfur Dioxide (SO2) mole fraction in wet air | nmolSO2 mol-1
GASES | SO3 | Ozone (O3) storage flux | nmolO3 m-2 s-1
HEAT | FH2O | Water vapor (H2O) turbulent flux (no storage correction) | mmolH2O m-2 s-1
HEAT | G | Soil heat flux | W m-2
HEAT | H | Sensible heat turbulent flux (no storage correction) | W m-2
HEAT | LE | Latent heat turbulent flux (no storage correction) | W m-2
HEAT | SB | Heat storage flux in biomass | W m-2
HEAT | SG | Heat storage flux in the soil above the soil heat fluxes measurement | W m-2
HEAT | SH | Sensible heat (H) storage flux | W m-2
HEAT | SLE | Latent heat (LE) storage flux | W m-2
MET_ATM | PA | Atmospheric pressure | kPa
MET_ATM | PBLH | Planetary boundary layer height | m
MET_ATM | RH | Relative humidity, range 0-100 | %
MET_ATM | T_SONIC | Sonic temperature | deg C
MET_ATM | T_SONIC_SIGMA | Standard deviation of sonic temperature | deg C
MET_ATM | TA | Air temperature | deg C
MET_ATM | VPD | Vapor Pressure Deficit | hPa
MET_PRECIP | D_SNOW | Snow depth | cm
MET_PRECIP | P | Precipitation | mm
MET_PRECIP | P_RAIN | Rainfall | mm
MET_PRECIP | P_SNOW | Snowfall | mm
MET_PRECIP | RUNOFF | Run off | mm
MET_PRECIP | STEMFLOW | Excess precipitation that drains from outlying branches and leaves and is channeled through the stems to the ground | mm
MET_PRECIP | THROUGHFALL | Excess precipitation that passes directly through a canopy or drips from wet leaves to the ground | mm
MET_RAD | ALB | Albedo, range 0-100 | %
MET_RAD | APAR | Absorbed PAR | ÂµmolPhoton m-2 s-1
MET_RAD | EVI | Enhanced Vegetation Index | nondimensional
MET_RAD | FAPAR | Fraction of absorbed PAR, range 0-100 | %
MET_RAD | FIPAR | Fraction of intercepted PAR, range 0-100 | %
MET_RAD | LW_BC_IN | Longwave radiation, below canopy incoming | W m-2
MET_RAD | LW_BC_OUT | Longwave radiation, below canopy outgoing | W m-2
MET_RAD | LW_IN | Longwave radiation, incoming | W m-2
MET_RAD | LW_OUT | Longwave radiation, outgoing | W m-2
MET_RAD | MCRI | Carotenoid Reflectance Index (Gitelson et al., 2002) | nondimensional
MET_RAD | MTCI | Meris Terrestrial Chlorophyll Index (Dash and Curran, 2004) | nondimensional
MET_RAD | NDVI | Normalized Difference Vegetation Index | nondimensional
MET_RAD | NETRAD | Net radiation | W m-2
MET_RAD | NIRV | Near Infrared Vegetation Index (Badgley et al., 2017) | W m-2 sr-1 nm-1
MET_RAD | PPFD_BC_IN | Photosynthetic photon flux density, below canopy incoming | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_BC_OUT | Photosynthetic photon flux density, below canopy outgoing | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_DIF | Photosynthetic photon flux density, diffuse incoming | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_DIR | Photosynthetic photon flux density, direct incoming | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_IN | Photosynthetic photon flux density, incoming | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_OUT | Photosynthetic photon flux density, outgoing | ÂµmolPhoton m-2 s-1
MET_RAD | PRI | Photochemical Reflectance Index | nondimensional
MET_RAD | R_UVA | UVA radiation, incoming | W m-2
MET_RAD | R_UVB | UVB radiation, incoming | W m-2
MET_RAD | REDCI | Red Edge Chlorophyll Index | nondimensional
MET_RAD | REP | Red Edge Position (Dash and Curran, 2004) | nm
MET_RAD | SPEC_NIR_IN | Radiation (near infra-red band), incoming (hemispherical) | W m-2 nm-1
MET_RAD | SPEC_NIR_OUT | Radiation (near infra-red band), outgoing | W m-2 sr-1 nm-1
MET_RAD | SPEC_NIR_REFL | Reflectance (near infra-red band) | nondimensional
MET_RAD | SPEC_PRI_REF_IN | Radiation for PRI reference band (e.g., 570 nm), incoming (hemispherical) | W m-2 nm-1
MET_RAD | SPEC_PRI_REF_OUT | Radiation for PRI reference band (e.g., 570 nm), outgoing | W m-2 sr-1 nm-1
MET_RAD | SPEC_PRI_REF_REFL | Reflectance for PRI reference band (e.g., 570 nm) | nondimensional
MET_RAD | SPEC_PRI_TGT_IN | Radiation for PRI target band (e.g., 531 nm), incoming (hemispherical) | W m-2 nm-1
MET_RAD | SPEC_PRI_TGT_OUT | Radiation for PRI target band (e.g., 531 nm), outgoing | W m-2 sr-1 nm-1
MET_RAD | SPEC_PRI_TGT_REFL | Reflectance for PRI target band (e.g., 531 nm) | nondimensional
MET_RAD | SPEC_RED_IN | Radiation (red band), incoming (hemispherical) | W m-2 nm-1
MET_RAD | SPEC_RED_OUT | Radiation (red band), outgoing | W m-2 sr-1 nm-1
MET_RAD | SPEC_RED_REFL | Reflectance (red band) | nondimensional
MET_RAD | SR | Simple Ratio | nondimensional
MET_RAD | SW_BC_IN | Shortwave radiation, below canopy incoming | W m-2
MET_RAD | SW_BC_OUT | Shortwave radiation, below canopy outgoing | W m-2
MET_RAD | SW_DIF | Shortwave radiation, diffuse incoming | W m-2
MET_RAD | SW_DIR | Shortwave radiation, direct incoming | W m-2
MET_RAD | SW_IN | Shortwave radiation, incoming | W m-2
MET_RAD | SW_OUT | Shortwave radiation, outgoing | W m-2
MET_RAD | TCARI | Transformed Chlorophyll Absorption in Reflectance Index | nondimensional
MET_SOIL | SWC | Soil water content (volumetric), range 0-100 | %
MET_SOIL | SWP | Soil water potential | kPa
MET_SOIL | TS | Soil temperature | deg C
MET_SOIL | TSN | Snow temperature | deg C
MET_SOIL | WTD | Water table depth | m
MET_WIND | MO_LENGTH | Monin-Obukhov length | m
MET_WIND | TAU | Momentum flux | kg m-1 s-2
MET_WIND | U_SIGMA | Standard deviation of velocity fluctuations (towards main-wind direction after coordinates rotation) | m s-1
MET_WIND | USTAR | Friction velocity | m s-1
MET_WIND | V_SIGMA | Standard deviation of lateral velocity fluctuations (cross main-wind direction after coordinates rotation) | m s-1
MET_WIND | W_SIGMA | Standard deviation of vertical velocity fluctuations | m s-1
MET_WIND | WD | Wind direction | Decimal degrees
MET_WIND |  | Standard deviation of wind direction (Yamartino, 1984) | decimal degree
MET_WIND | WS | Wind speed | m s-1
MET_WIND | WS_MAX | maximum WS in the averaging period | m s-1
MET_WIND | ZL | Monin-Obukhov Stability parameter | nondimensional
PRODUCTS | GPP | Gross Primary Productivity | ÂµmolCO2 m-2 s-1
PRODUCTS | NEE | Net Ecosystem Exchange | ÂµmolCO2 m-2 s-1
PRODUCTS | RECO | Ecosystem Respiration | ÂµmolCO2 m-2 s-1
QC_FLAG | FC_SSITC_TEST | Results of the quality flagging for FC according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | FCH4_SSITC_TEST | Results of the quality flagging for FCH4 according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | FN2O_SSITC_TEST | Results of the quality flagging for FN2O according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | FNO_SSITC_TEST | Results of the quality flagging for FNO according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | FNO2_SSITC_TEST | Results of the quality flagging for FNO2 according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | FO3_SSITC_TEST | Results of the quality flagging for FO3 according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | H_SSITC_TEST | Results of the quality flagging for H according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | LE_SSITC_TEST | Results of the quality flagging for LE according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | TAU_SSITC_TEST | Results of the quality flagging for TAU according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional

## LF_flux-met_processing_variable
Type | Variable | Description | Units
TIMEKEEPING | TIMESTAMP_START | ISO timestamp start of averaging period (up to a 12-digit integer as specified by the data's temporal resolution) | YYYYMMDDHHMM
TIMEKEEPING | TIMESTAMP_END | ISO timestamp end of averaging period (up to a 12-digit integer as specified by the data's temporal resolution) | YYYYMMDDHHMM
TIMEKEEPING | TIMESTAMP | ISO timestamp (up to a 12-digit integer as specified by the data's temporal resolution) | YYYYMMDDHHMM
FOOTPRINT | FETCH_70 | Distance at which cross-wind integrated footprint cumulative probability is 70% | m
FOOTPRINT | FETCH_80 | Distance at which cross-wind integrated footprint cumulative probability is 80% | m
FOOTPRINT | FETCH_90 | Distance at which cross-wind integrated footprint cumulative probability is 90% | m
FOOTPRINT | FETCH_FILTER | Footprint quality flag (i.e., 0, 1): 0 and 1 indicate data measured when wind coming from direction that should be discarded and kept, respectively | nondimensional
FOOTPRINT | FETCH_MAX | Distance at which footprint contribution is maximum | m
GASES | CH4 | Methane (CH4) mole fraction in wet air | nmolCH4 mol-1
GASES | CH4_MIXING_RATIO | Methane (CH4) in mole fraction of dry air | nmolCH4 mol-1
GASES | CO2 | Carbon Dioxide (CO2) mole fraction in wet air | ÂµmolCO2 mol-1
GASES | CO2_MIXING_RATIO | Carbon Dioxide (CO2) in mole fraction of dry air | ÂµmolCO2 mol-1
GASES | FC | Carbon Dioxide (CO2) turbulent flux (no storage correction) | ÂµmolCO2 m-2 s-1
GASES | FCH4 | Methane (CH4) turbulent flux (no storage correction) | nmolCH4 m-2 s-1
GASES | H2O | Water (H2O) vapor in mole fraction of wet air | mmolH2O mol-1
GASES | H2O_MIXING_RATIO | Water (H2O) vapor in mole fraction of dry air | mmolH2O mol-1
HEAT | FH2O | Water vapor (H2O) turbulent flux (no storage correction) | mmolH2O m-2 s-1
HEAT | G | Soil heat flux | W m-2
HEAT | H | Sensible heat turbulent flux (no storage correction) | W m-2
HEAT | LE | Latent heat turbulent flux (no storage correction) | W m-2
HEAT | SG | Heat storage flux in the soil above the soil heat fluxes measurement | W m-2
HEAT | SH | Sensible heat (H) storage flux | W m-2
HEAT | SLE | Latent heat (LE) storage flux | W m-2
MET_ATM | PA | Atmospheric pressure | kPa
MET_ATM | RH | Relative humidity, range 0-100 | %
MET_ATM | T_SONIC | Sonic temperature | deg C
MET_ATM | T_SONIC_SIGMA | Standard deviation of sonic temperature | deg C
MET_ATM | TA | Air temperature | deg C
MET_ATM | VPD | Vapor Pressure Deficit | hPa
MET_PRECIP | P | Precipitation | mm
MET_RAD | LW_BC_IN | Longwave radiation, below canopy incoming | W m-2
MET_RAD | LW_BC_OUT | Longwave radiation, below canopy outgoing | W m-2
MET_RAD | LW_IN | Longwave radiation, incoming | W m-2
MET_RAD | LW_OUT | Longwave radiation, outgoing | W m-2
MET_RAD | PPFD_BC_IN | Photosynthetic photon flux density, below canopy incoming | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_BC_OUT | Photosynthetic photon flux density, below canopy outgoing | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_DIF | Photosynthetic photon flux density, diffuse incoming | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_DIR | Photosynthetic photon flux density, direct incoming | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_IN | Photosynthetic photon flux density, incoming | ÂµmolPhoton m-2 s-1
MET_RAD | PPFD_OUT | Photosynthetic photon flux density, outgoing | ÂµmolPhoton m-2 s-1
MET_RAD | SW_BC_IN | Shortwave radiation, below canopy incoming | W m-2
MET_RAD | SW_BC_OUT | Shortwave radiation, below canopy outgoing | W m-2
MET_RAD | SW_DIF | Shortwave radiation, diffuse incoming | W m-2
MET_RAD | SW_DIR | Shortwave radiation, direct incoming | W m-2
MET_RAD | SW_IN | Shortwave radiation, incoming | W m-2
MET_RAD | SW_OUT | Shortwave radiation, outgoing | W m-2
MET_SOIL | SWC | Soil water content (volumetric), range 0-100 | %
MET_SOIL | TS | Soil temperature | deg C
MET_SOIL | WTD | Water table depth | m
MET_WIND | MO_LENGTH | Monin-Obukhov length | m
MET_WIND | TAU | Momentum flux | kg m-1 s-2
MET_WIND | USTAR | Friction velocity | m s-1
PRODUCTS | GPP | Gross Primary Productivity | ÂµmolCO2 m-2 s-1
PRODUCTS | NEE | Net Ecosystem Exchange | ÂµmolCO2 m-2 s-1
PRODUCTS | RECO | Ecosystem Respiration | ÂµmolCO2 m-2 s-1
QC_FLAG | FC_SSITC_TEST | Results of the quality flagging for FC according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | FCH4_SSITC_TEST | Results of the quality flagging for FCH4 according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | H_SSITC_TEST | Results of the quality flagging for H according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | LE_SSITC_TEST | Results of the quality flagging for LE according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional
QC_FLAG | TAU_SSITC_TEST | Results of the quality flagging for TAU according to Foken et al 2004, based on a combination of Steady State and Integral Turbulence Characteristics tests by Foken and Wichura (1996) (i.e., 0, 1, 2) | nondimensional

## Way3headers
Label
TIMESTAMP
filename
date
time
DOY
daytime
file_records
used_records
Tau
qc_Tau
H
qc_H
LE
qc_LE
co2_flux
qc_co2_flux
h2o_flux
qc_h2o_flux
ch4_flux
qc_ch4_flux
H_strg
LE_strg
co2_strg
h2o_strg
ch4_strg
co2_v_adv
h2o_v_adv
ch4_v_adv
co2_molar_density
co2_mole_fraction
co2_mixing_ratio
co2_time_lag
co2_def_timelag
h2o_molar_density
h2o_mole_fraction
h2o_mixing_ratio
h2o_time_lag
h2o_def_timelag
ch4_molar_density
ch4_mole_fraction
ch4_mixing_ratio
ch4_time_lag
ch4_def_timelag
sonic_temperature
air_temperature
air_pressure
air_density
air_heat_capacity
air_molar_volume
ET
water_vapor_density
e
es
specific_humidity
RH
VPD
Tdew
u_unrot
v_unrot
w_unrot
u_rot
v_rot
w_rot
wind_speed
max_wind_speed
wind_dir
yaw
pitch
roll
u_
TKE
L
X_z_d__L
bowen_ratio
T_
model
x_peak
x_offset
x_10_
x_30_
x_50_
x_70_
x_90_
un_Tau
Tau_scf
un_H
H_scf
un_LE
LE_scf
un_co2_flux
co2_scf
un_h2o_flux
h2o_scf
un_ch4_flux
ch4_scf
spikes_hf
amplitude_resolution_hf
drop_out_hf
absolute_limits_hf
skewness_kurtosis_hf
skewness_kurtosis_sf
discontinuities_hf
discontinuities_sf
timelag_hf
timelag_sf
attack_angle_hf
non_steady_wind_hf
u_spikes
v_spikes
w_spikes
ts_spikes
co2_spikes
h2o_spikes
ch4_spikes
chopper_LI_7500
detector_LI_7500
pll_LI_7500
sync_LI_7500
not_ready_LI_7700
no_signal_LI_7700
re_unlocked_LI_7700
bad_temp_LI_7700
laser_temp_unregulated_LI_7700
block_temp_unregulated_LI_7700
motor_spinning_LI_7700
pump_on_LI_7700
top_heater_on_LI_7700
bottom_heater_on_LI_7700
calibrating_LI_7700
motor_failure_LI_7700
bad_aux_tc1_LI_7700
bad_aux_tc2_LI_7700
bad_aux_tc3_LI_7700
box_connected_LI_7700
u_var
v_var
w_var
ts_var
co2_var
h2o_var
ch4_var
w_ts_cov
w_co2_cov
w_h2o_cov
w_ch4_cov
air_t_mean
air_p_mean
vin_sf_mean
co2_mean
h2o_mean
dew_point_mean
co2_signal_strength_7500_mean
ch4_mean
rssi_77_mean
ECFILEID
mean_value_RSSI_LI_7500
ch4_aux_1_mean
ch4_aux_2_mean
ch4_aux_3_mean
ch4_aux_4_mean
ch4_tc_1_mean
ch4_tc_2_mean
ch4_tc_3_mean
air_t_mean_1
rand_err_Tau
rand_err_H
rand_err_LE
rand_err_co2_flux
rand_err_h2o_flux
rand_err_ch4_flux
none_flux
qc_none_flux
rand_err_none_flux
none_strg
none_v_adv
none_molar_density
none_mole_fraction
none_mixing_ratio
none_time_lag
none_def_timelag
un_none_flux
un_none_scf
none_spikes
head_detect_LI_7200
t_out_LI_7200
t_in_LI_7200
aux_in_LI_7200
delta_p_LI_7200
chopper_LI_7200
detector_LI_7200
pll_LI_7200
sync_LI_7200
mean_value_RSSI_LI_7200
mean_value_LI_7500
none_var
w_none_cov
H_raw
H_qc
H_gf
H_mod
LE_raw
LE_qc
LE_gf
LE_mod
co2_raw
co2_qc
co2_gf
co2_mod
ch4_raw
ch4_qc
ch4_gf
ch4_mod
WT_gf
RECORD.x
BattV_Min
BattV_Avg
WS_Avg
WD_Avg
WS_S_WVT
WS_U_WVT
WD_DU_WVT
WD_SDU_WVT
CNR4Temp_K_Avg
METFILEID
pH_Avg
TA_1_1_1_Avg
RH_1_1_1_Avg
SW_IN_Avg
SW_OUT_Avg
LW_IN_Avg
LW_OUT_Avg
LW_IN_T_Corr_Avg
LW_OUT_T_Corr_Avg
NETRAD_Avg
ALB_Avg
PAR_IN_Avg
PAR_IN_Max
PAR_IN_TMx
PAR_IN_Min
PAR_IN_TMn
PAR_OUT_Avg
PAR_OUT_Max
PAR_OUT_TMx
PAR_OUT_Min
PAR_OUT_TMn
PAR_Tot_IN_Tot
PAR_Tot_OUT_Tot
APAR_Avg
Redox_1_Avg
Redox_2_Avg
Redox_3_Avg
WSDiag_Tot
TA_1_2_1_Avg
RH_1_2_1_Avg
WLM_Us_1_Avg
TA_2_1_2_Avg
TA_Avg
RH_Avg
HF1_Avg
HF2_Avg
HF3_Avg
SHF_Cal.1.
SHF_Cal.2.
SHF_Cal.3.
TS1_Avg
TS2_Avg
TS3_Avg
SWUp_Avg
SWDn_Avg
LWUpTempCorr_Avg
LWDnTempCorr_Avg
Hyp1_1_Avg
Hyp1_2_Avg
WaterTemp_Avg
WaterDepth_V_Avg
WaterDepth_Avg
LWUp_RAW_Avg
LWDn_RAW_Avg
TA_Lower_Avg
RH_Lower_Avg
DOmV
DOppm
PAR_Den_up_Avg
PAR_Den_up
PAR_Tot_up_Tot
PAR_Den_dn_Avg
PAR_Den_dn
PAR_Tot_dn_Tot
ORP_Avg
Pt1_Avg
Pt2_Avg
Pt3_Avg
VWC_3.x
Ts_3.x
BRP_3.x
EC_3.x
VWC_6.x
Ts_6.x
BRP_6.x
EC_6.x
VWC_3_Avg.x
Ts_3_Avg.x
BRP_3_Avg.x
EC_3_Avg.x
VWC_6_Avg.x
Ts_6_Avg.x
BRP_6_Avg.x
EC_6_Avg.x
response..1..x
response..2..x
response..3..x
response..4..x
response..5..x
response..6..x
response..7..x
response..8..x
response..9..x
WLM_Us_1
WLM_Us_1_Min
WLM_Us_1_TMn
WLM_Us_1_Max
WLM_Us_1_TMx
TA_2_1_1_Avg
RH_2_1_1_Avg
TS
RN
Volts
Volts.1
Deg.C
X.
W.m.2
W.m.2.1
W.m.2.2
W..m.2mV.
W..m.2mV..1
W..m.2mV..2
Deg.C.1
Deg.C.2
Deg.C.3
W.m.2.3
W.m.2.4
W.m.2.5
W.m.2.6
Deg.C.4
Deg.C.5
meters.second
degrees
meters.second.1
meters.second.2
Deg
Deg.1
Deg.C.6
mV
cm
W.m.2.7
W.m.2.8
K
Deg.C.7
X..1
mV.1
ppm
umol.s.m.2
umol.s.m.2.1
mmol.m.2
umol.s.m.2.2
umol.s.m.2.3
mmol.m.2.1
X..2
C
X..3
Ds.m
X..4
C.1
X..5
dS.m
X..6
C.2
X..7
Ds.m.1
X..8
C.3
X..9
dS.m.1
X
X.1
X.2
X.3
X.4
X.5
X.6
X.7
X.8
mV.2
mV.3
mV.4
mV.5
mV.6
Deg.C.8
X..10
Deg.C.9
X..11
W.m.2.9
W.m.2.10
W.m.2.11
W.m.2.12
W.m.2.13
W.m.2.14
W.m.2.15
X..12
umol.s.m.2.4
umol.s.m.2.5
X.9
umol.s.m.2.6
X.10
umol.s.m.2.7
umol.s.m.2.8
X.11
umol.s.m.2.9
X.12
mmol.m.2.2
mmol.m.2.3
umol.s.m.2.10
mV.7
mV.8
mV.9
unitless
cm.1
Deg.C.10
X..13
Deg.C.11
cm.2
cm.3
X.13
cm.4
X.14
RECORD.y
panel_tmpr_Avg
batt_volt_Avg
SOILFILEID
shf_Avg.1.
shf_Avg.2.
shf_Avg.3.
shf_cal.1.
shf_cal.2.
shf_cal.3.
n_Tot
response..1..y
response..2..y
response..3..y
response..4..y
response..5..y
response..6..y
response..7..y
response..8..y
response..9..y
TS_mean.1.
TS_mean.2.
TS_mean.3.
TS_mean.4.
del_TS.1.
del_TS.2.
del_TS.3.
del_TS.4.
SWC_1_1_1
TS_2_1_2
BRP_1_1_1
EC_1_1_1
SWC_2_1_1
TS_2_2_2
BRP_2_1_1
EC_2_1_1
SWC_1_1_1_Avg
TS_2_1_2_Avg
BRP_1_1_1_Avg
EC_1_1_1_Avg
SWC_2_1_1_Avg
TS_2_2_2_Avg
BRP_2_1_1_Avg
EC_2_1_1_Avg
TS_mean.5.
TS_mean.6.
del_TS.5.
del_TS.6.
IRR_Body_Avg
IRR_Corr_Avg
Temp_C_Avg
Lvl_m_Avg
Tsoil_wat_mean.1.
Tsoil_wat_mean.2.
Tsoil_wat_mean.3.
del_Tsoil_wat.1.
del_Tsoil_wat.2.
del_Tsoil_wat.3.
WTD_raw_Avg
WTD_Avg
fw_1_Avg
Tsoil_wat_mean
wnd_spd_Avg
wnd_dir_Unit_Vec
wnd_dir_Std
process_time_Avg
process_time_Max
buff_depth_Max
pH_1_Avg
pH_2_Avg
ORP_1_Avg
ORP_2_Avg
slowsequence_Tot
VWC_3.y
Ts_3.y
BRP_3.y
EC_3.y
VWC_6.y
Ts_6.y
BRP_6.y
EC_6.y
VWC_3_Avg.y
Ts_3_Avg.y
BRP_3_Avg.y
EC_3_Avg.y
VWC_6_Avg.y
Ts_6_Avg.y
BRP_6_Avg.y
EC_6_Avg.y
Lvl_m_corr_Avg
begin
end
YEAR

## Way3headersUnit
Label | Units
filename |  | NaN
date | [yyyy-mm-dd] | NaN
time | [HH:MM] | NaN
DOY | [ddd.ddd] | NaN
daytime | [1=daytime] | NaN
file_records | [#] | NaN
used_records | [#] | NaN
Tau | [kg+1m-1s-2] | NaN
qc_Tau | [#] | NaN
rand_err_Tau | [kg+1m-1s-2] | NaN
H | [W+1m-2] | NaN
qc_H | [#] | NaN
rand_err_H | [W+1m-2] | NaN
LE | [W+1m-2] | NaN
qc_LE | [#] | NaN
rand_err_LE | [W+1m-2] | NaN
co2_flux | [Âµmol+1s-1m-2] | NaN
qc_co2_flux | [#] | NaN
rand_err_co2_flux | [Âµmol+1s-1m-2] | NaN
h2o_flux | [mmol+1s-1m-2] | NaN
qc_h2o_flux | [#] | NaN
rand_err_h2o_flux | [mmol+1s-1m-2] | NaN
ch4_flux | [Âµmol+1s-1m-2] | NaN
qc_ch4_flux | [#] | NaN
rand_err_ch4_flux | [Âµmol+1s-1m-2] | NaN
none_flux | [Âµmol+1s-1m-2] | NaN
qc_none_flux | [#] | NaN
rand_err_none_flux | [Âµmol+1s-1m-2] | NaN
H_strg | [W+1m-2] | NaN
LE_strg | [W+1m-2] | NaN
co2_strg | [Âµmol+1s-1m-2] | NaN
h2o_strg | [mmol+1s-1m-2] | NaN
ch4_strg | [Âµmol+1s-1m-2] | NaN
none_strg | [Âµmol+1s-1m-2] | NaN
co2_v.adv | [Âµmol+1s-1m-2] | NaN
h2o_v.adv | [mmol+1s-1m-2] | NaN
ch4_v.adv | [Âµmol+1s-1m-2] | NaN
none_v.adv | [Âµmol+1s-1m-2] | NaN
co2_molar_density | [mmol+1m-3] | NaN
co2_mole_fraction | [Âµmol+1mol_a-1] | NaN
co2_mixing_ratio | [Âµmol+1mol_d-1] | NaN
co2_time_lag | [s] | NaN
co2_def_timelag | [1=default] | NaN
h2o_molar_density | [mmol+1m-3] | NaN
h2o_mole_fraction | [mmol+1mol_a-1] | NaN
h2o_mixing_ratio | [mmol+1mol_d-1] | NaN
h2o_time_lag | [s] | NaN
h2o_def_timelag | [1=default] | NaN
ch4_molar_density | [mmol+1m-3] | NaN
ch4_mole_fraction | [Âµmol+1mol_a-1] | NaN | mole fraction (moles of gas per mole of wet air)
ch4_mixing_ratio | [Âµmol+1mol_d-1] | NaN | mixing ratio (moles of gas per mole of dry air)
ch4_time_lag | [s] | NaN
ch4_def_timelag | [1=default] | NaN
none_molar_density | [mmol+1m-3] | NaN
none_mole_fraction | [Âµmol+1mol_a-1] | NaN
none_mixing_ratio | [Âµmol+1mol_d-1] | NaN
none_time_lag | [s] | NaN
none_def_timelag | [1=default] | NaN
sonic_temperature | [K] | NaN
air_temperature | [K] | NaN
air_pressure | [Pa] | NaN
air_density | [kg+1m-3] | NaN
air_heat_capacity | [J+1kg-1K-1] | NaN
air_molar_volume | [m+3mol-1] | NaN
ET | [mm] | NaN
water_vapor_density | [kg+1m-3] | NaN
e | [Pa] | NaN
es | [Pa] | NaN
specific_humidity | [kg+1kg-1] | NaN
RH | [%] | NaN
VPD | [Pa] | NaN
Tdew | [K] | NaN
u_unrot | [m+1s-1] | NaN
v_unrot | [m+1s-1] | NaN
w_unrot | [m+1s-1] | NaN
u_rot | [m+1s-1] | NaN
v_rot | [m+1s-1] | NaN
w_rot | [m+1s-1] | NaN
wind_speed | [m+1s-1] | NaN
max_wind_speed | [m+1s-1] | NaN
wind_dir | [deg_from_north] | NaN
yaw | [deg] | NaN
pitch | [deg] | NaN
roll | [deg] | NaN
u. | [m+1s-1] | NaN
TKE | [m+2s-2] | NaN
L | [m] | NaN
X.z.d..L | [#] | NaN
bowen_ratio | [#] | NaN
T. | [K] | NaN
model | [0=KJ/1=KM/2=HS] | NaN
x_peak | [m] | NaN
x_offset | [m] | NaN
x_10. | [m] | NaN
x_30. | [m] | NaN
x_50. | [m] | NaN
x_70. | [m] | NaN
x_90. | [m] | NaN
un_Tau | [kg+1m-1s-2] | NaN
Tau_scf | [#] | NaN
un_H | [W+1m-2] | NaN
H_scf | [#] | NaN
un_LE | [W+1m-2] | NaN
LE_scf | [#] | NaN
un_co2_flux | [Âµmol+1s-1m-2] | NaN
co2_scf | [#] | NaN
un_h2o_flux | [mmol+1s-1m-2] | NaN
h2o_scf | [#] | NaN
un_ch4_flux | [Âµmol+1s-1m-2] | NaN
ch4_scf | [#] | NaN
un_none_flux | [Âµmol+1s-1m-2] | NaN
un_none_scf | [#] | NaN
spikes_hf | 8u/v/w/ts/co2/h2o/ch4/none | NaN
amplitude_resolution_hf | 8u/v/w/ts/co2/h2o/ch4/none | NaN
drop_out_hf | 8u/v/w/ts/co2/h2o/ch4/none | NaN
absolute_limits_hf | 8u/v/w/ts/co2/h2o/ch4/none | NaN
skewness_kurtosis_hf | 8u/v/w/ts/co2/h2o/ch4/none | NaN
skewness_kurtosis_sf | 8u/v/w/ts/co2/h2o/ch4/none | NaN
discontinuities_hf | 8u/v/w/ts/co2/h2o/ch4/none | NaN
discontinuities_sf | 8u/v/w/ts/co2/h2o/ch4/none | NaN
timelag_hf | 8co2/h2o/ch4/none | NaN
timelag_sf | 8co2/h2o/ch4/none | NaN
attack_angle_hf | 8aa | NaN
non_steady_wind_hf | 8U | NaN
u_spikes | [#] | NaN
v_spikes | [#] | NaN
w_spikes | [#] | NaN
ts_spikes | [#] | NaN
co2_spikes | [#] | NaN
h2o_spikes | [#] | NaN
ch4_spikes | [#] | NaN
none_spikes | [#] | NaN
head_detect_LI.7200 | [#_flagged_recs] | NaN
t_out_LI.7200 | [#_flagged_recs] | NaN
t_in_LI.7200 | [#_flagged_recs] | NaN
aux_in_LI.7200 | [#_flagged_recs] | NaN
delta_p_LI.7200 | [#_flagged_recs] | NaN
chopper_LI.7200 | [#_flagged_recs] | NaN
detector_LI.7200 | [#_flagged_recs] | NaN
pll_LI.7200 | [#_flagged_recs] | NaN
sync_LI.7200 | [#_flagged_recs] | NaN
chopper_LI.7500 | [#_flagged_recs] | NaN
detector_LI.7500 | [#_flagged_recs] | NaN
pll_LI.7500 | [#_flagged_recs] | NaN
sync_LI.7500 | [#_flagged_recs] | NaN
not_ready_LI.7700 | [#_flagged_recs] | NaN
no_signal_LI.7700 | [#_flagged_recs] | NaN
re_unlocked_LI.7700 | [#_flagged_recs] | NaN
bad_temp_LI.7700 | [#_flagged_recs] | NaN
laser_temp_unregulated_LI.7700 | [#_flagged_recs] | NaN
block_temp_unregulated_LI.7700 | [#_flagged_recs] | NaN
motor_spinning_LI.7700 | [#_flagged_recs] | NaN
pump_on_LI.7700 | [#_flagged_recs] | NaN
top_heater_on_LI.7700 | [#_flagged_recs] | NaN
bottom_heater_on_LI.7700 | [#_flagged_recs] | NaN
calibrating_LI.7700 | [#_flagged_recs] | NaN
motor_failure_LI.7700 | [#_flagged_recs] | NaN
bad_aux_tc1_LI.7700 | [#_flagged_recs] | NaN
bad_aux_tc2_LI.7700 | [#_flagged_recs] | NaN
bad_aux_tc3_LI.7700 | [#_flagged_recs] | NaN
box_connected_LI.7700 | [#_flagged_recs] | NaN
mean_value_RSSI_LI.7200 | [#] | NaN
mean_value_LI.7500 | [#] | NaN
u_var | [m+2s-2] | NaN
v_var | [m+2s-2] | NaN
w_var | [m+2s-2] | NaN
ts_var | [K+2] | NaN
co2_var | -- | NaN
h2o_var | -- | NaN
ch4_var | -- | NaN
none_var | -- | NaN
w.ts_cov | [m+1s-1K+1] | NaN
w.co2_cov | -- | NaN
w.h2o_cov | -- | NaN
w.ch4_cov | -- | NaN
w.none_cov | -- | NaN
air_t_mean | -- | NaN
air_p_mean | -- | NaN
vin_sf_mean | -- | NaN
co2_mean | -- | NaN
h2o_mean | -- | NaN
dew_point_mean | -- | NaN
co2_signal_strength_7500_mean | -- | NaN
ch4_mean | -- | NaN
rssi_77_mean | -- | NaN
mean_value_RSSI_LI.7500 | [#] | NaN
air_t_mean.1 | -- | NaN
ch4_aux.1_mean | -- | NaN
ch4_aux.2_mean | -- | NaN
ch4_aux.3_mean | -- | NaN
ch4_aux.4_mean | -- | NaN
ch4_tc_1_mean | -- | NaN
ch4_tc_2_mean | -- | NaN
ch4_tc_3_mean | -- | NaN

## EddyProOutputfile
Label | Units, Format, or Range | Description
filename | - | Name of the raw file (or the first of a set) from which the dataset for the current averaging interval was extracted
date | yyyy-mm-dd | Date of the end of the averaging period
time | HH:MM | Time of the end of the averaging period
file_records | # | Number of valid records found in the raw file (or set of raw files)
used_records | # | Number of valid records used for current the averaging period
Tau | kg m-1 s-2 | Corrected momentum flux
qc_Tau | # | Quality flag for momentum flux
rand_err_Tau | kg m-1 s-2 | Random error for momentum flux, if selected
H | W m-2 | Corrected sensible heat flux
qc_H | # | Quality flag for sensible heat flux
rand_err_H | W m-2 | Random error for momentum flux, if selected
LE | W m-2 | Corrected latent heat flux
qc_LE | # | Quality flag latent heat flux
rand_err_LE | W m-2 | Random error for latent heat flux, if selected
gas_flux | µmol m-2 s-1(†) | Corrected gas flux
qc_gas_flux | # | Quality flag for gas flux
rand_err_gas_flux | µmol s-1 m-2(†) | Random error for gas flux, if selected
H_strg | W m-2 | Estimate of storage sensible heat flux
LE_strg | W m-2 | Estimate of storage latent heat flux
gas_strg | µmol s-1 m-2(†) | Estimate of storage gas flux
gas_v-adv | µmol s-1 m-2(†) | Estimate of vertical advection flux
gas_molar_density | mmol m-3 | Measured or estimated molar density of gas
gas_mole_fraction | µmol mol-1(†) | Measured or estimated mole fraction of gas
gas_mixing_ratio | µmol mol-1(†) | Measured or estimated mixing ratio of gas
gas_time_lag | s | Time lag used to synchronize gas time series
gas_def_timelag | T/F | Flag: whether the reported time lag is the default (T) or calculated (F)
sonic_temperature | K | Mean temperature of ambient air as measured by the anemometer
air_temperature | K | Mean temperature of ambient air, either calculated from high frequency air temperature readings, or estimated from sonic temperature
air_pressure | Pa | Mean pressure of ambient air, either calculated from high frequency air pressure readings, or estimated based on site altitude (barometric pressure)
air_density | kg m-3 | Density of ambient air
air_heat_capactiy | J K-1 kg-1 | Specific heat at constant pressure of ambient air
air_molar_volume | m3 mol-1 | Molar volume of ambient air
ET | mm hour-1 | Evapotranspiration flux
water_vapor_density | kg m-3 | Ambient mass density of water vapor
e | Pa | Ambient water vapor partial pressure
es | Pa | Ambient water vapor partial pressure at saturation
specific_humidity | kg kg-1 | Ambient specific humidity on a mass basis
RH | % | Ambient relative humidity
VPD | Pa | Ambient water vapor pressure deficit
Tdew | K | Ambient dew point temperature
u_unrot | m s-1 | Wind component along the u anemometer axis
v_unrot | m s-1 | Wind component along the v anemometer axis
w_unrot | m s-1 | Wind component along the w anemometer axis
u_rot | m s-1 | Rotated u wind component (mean wind speed)
v_rot | m s-1 | Rotated v wind component (should be zero)
w_rot | m s-1 | Rotated w wind component (should be zero)
wind_speed | m s-1 | Mean wind speed
max_wind_speed | m s-1 | Maximum instantaneous wind speed
wind_dir | ° (degrees) | Direction from which the wind blows, with respect to Geographic or Magnetic north
yaw | ° (degrees) | First rotation angle
pitch | ° (degrees) | Second rotation angle
u* | m s-1 | Friction velocity
TKE | m2 s-2 | Turbulent kinetic energy
L | M | Monin-Obukhov length
(z-d)/L | # | Monin-Obukhov stability parameter
bowen_ratio | # | Sensible heat flux to latent heat flux ratio
T* | K | Scaling temperature
(footprint) model | - | Model for footprint estimation
x_offset | m | Along-wind distance providing <1% contribution to turbulent fluxes
x_peak | m | Along-wind distance providing the highest (peak) contribution to turbulent fluxes
x_10% | m | Along-wind distance providing 10% (cumulative) contribution to turbulent fluxes
x_30% | m | Along-wind distance providing 30% (cumulative) contribution to turbulent fluxes
x_50% | m | Along-wind distance providing 50% (cumulative) contribution to turbulent fluxes
x_70% | m | Along-wind distance providing 70% (cumulative) contribution to turbulent fluxes
x_90% | m | Along-wind distance providing 90% (cumulative) contribution to turbulent fluxes
un_Tau | kg m-1 s-2 | Uncorrected momentum flux
Tau_scf | # | Spectral correction factor for momentum flux
un_H | W m-2 | Uncorrected sensible heat flux
H_scf | # | Spectral correction factor for sensible heat flux
un_LE | W m-2 | Uncorrected latent heat flux
LE_scf | # | Spectral correction factor for latent heat flux
un_gas_flux | µmol s-1 m-2(†) | Uncorrected gas flux
gas_scf | # | Spectral correction factor for gas flux
spikes | 8u/v/w/ts/co2 /h2o/ch4/none | Hard flags for individual variables for spike test
amp_res | 8u/v/w/ts/co2 /h2o/ch4/none | Hard flags for individual variables for amplitude resolution
drop_out | 8u/v/w/ts/co2 /h2o/ch4/none | Hard flags for individual variables for drop-out test
abs_lim | 8u/v/w/ts/co2 /h2o/ch4/none | Hard flags for individual variables for absolute limits
skw_kur | 8u/v/w/ts/co2 /h2o/ch4/none | Hard flags for individual variables for skewness and kurtosis
skw_kur | 8u/v/w/ts/co2 /h2o/ch4/none | Soft flags for individual variables for skewness and kurtosis test
discontinuities | 8u/v/w/ts/co2 /h2o/ch4/none | Hard flags for individual variables for discontinuities test
discontinuities | 8u/v/w/ts/co2 /h2o/ch4/none | Soft flags for individual variables for discontinuities test
time_lag | 8u/v/w/ts/co2 /h2o/ch4/none | Hard flags for gas concentration for time lag test
time_lag | 8u/v/w/ts/co2 /h2o/ch4/none | Soft flags for gas concentration for time lag test
attack_angle | 0, 1, 9 | Hard flag for attack angle test
non_steady_wind | 0, 1, 9 | Hard flag for non-steady horizontal test
var_spikes | # | Number of spikes detected and eliminated for variable var
AGC | # | Mean value of AGC for LI-7500RS or LI-7200RS
RSSI | # | Mean value of RSSI for LI-7700, if present
var_var | -(‡) | Variance of variable var
w/var_cov | -(‡) | Covariance between w and variable var
extravar_mean | (‡) | Mean value of extravar